Decentralized Distribution Generation (DDG)
 Projects under 
Rajiv Gandhi Grameen Vidyutikaran Yojana
Format for Preparation of 
Detailed Project Report (DPR) 

June 2009 


Reference No. (DPR No.):________________(for official use)
Date of preparation of DPR: ________________ (month / year)

Name of the State: ________________

Name of the District: ________________

Name of Village(S) / Hamlet(s):__________________

Technology chosen: ___________________

Estimated Project Cost (Rs. Lakhs): _________________
Contents

1.0
Executive Summary…………………………………………………………
1


2.0
Introduction (Village profile)……………………………………………..
3 

3.0
Village Energy Plan…………………………………………………………
5
4.0
Estimation of Load Demand and Energy Demand…………………….. 
7
5.0
Technology Selection Decision……………………………………………
9
6.0
Design Details of the Power Plant and Estimated Costs………………..
12
7.0
Project Management and Monitoring Plan……………………………… 
15
8.0
Baseline Information for Calculating Emission Reductions from Carbon Trading Schemes……………………………………………………………..
16
9.0
Check List for Detailed Project Reports (DPRs)………………………….
18
10.0
Bar / Pert Chart for Project Erection and Commissioning…………….
23
This document provides a format to be followed for preparing the Detailed Project Report (DPR) for the DDG projects to be established under the Rajiv Gandhi Grameen Vidyutikaran Yojana.  

1.0 
Executive Summary

A brief about the project, including the Technology chosen, System Configuration and Cost Parameters 
	1.1
	Name of the village (s) selected 
	(1)___________________________

(2)___________________________

(…)__________________________

	1.2
	No. of village (s) selected
	_____________________________

	1.3
	Village GPS coordinates 
	________ latitude _______ longitude

	1.4
	Name of the hamlet (s) selected 
	(1)___________________________

(2)___________________________

(…)__________________________

	1.5
	No. of hamlet (s) selected
	_____________________________

	1.6
	Name of the District
	_____________________________

	1.7
	Name of the State
	_____________________________



	1.8
	Implementing agency
	_____________________________

_____________________________



	1.8.1
	Address of Implementing Agency
	Address: _____________________

____________________________

____________________________

Tel. _________________________

Fax: _________________________

Mob: ________________________

Email: _______________________



	1.8.2
	Name of Contact person at Implementing Agency
	_____________________________



	1.8.3
	Contact details
	Designation: _________________

____________________________

Address: _____________________

____________________________

____________________________

Tel. _________________________

Fax: _________________________

Mob: ________________________

Email: _______________________



	1.9
	No. of Households:

	1.9.1
	No. of BPL Households
	

	1.9.2
	No. of non-BPL Households
	

	1.9.3
	Total no. of Households
	

	1.9.4
	Total population (as per Census 2001)
	

	1.10
	Estimated Load Demand:

	1.10.1
	Household – lighting & other
	

	1.10.2
	Community services, including streetlights
	

	1.10.3
	Non-domestic / productive
	

	1.10.4
	Total estimated load demand
	

	1.11
	Type of technology selected: 

	1.11.1
	Small hydro / Diesel generating sets powered by biofuels / Diesel generating sets / gas engine powered by producer gas generated through biomass gasification / Diesel generating sets / gas engine powered by biogas (animal waste) / Solar photo voltaic / Wind hybrid systems / Other hybrid options, including any new technology; etc
	Technology selected

_____________________________

_____________________________

_____________________________



	1.12
	Proposed DDG capacity (in kW)
	___________________________kW

	1.13
	Estimated Project Cost (in Rs Lakhs):

	1.13.1
	A. 
Capital cost
	

	1.13.2
	B. 
Cost of spare parts
	

	1.13.3
	C. 
Cost of providing power minus cost of recovery for 5 years
	

	1.13.4
	i) Cost of preparing DPR
ii) Cost of Social Engineering

D. 
Total Soft Cost (i+ ii)
	

	1.13.5
	Total (A+B+C+D) (Rs. Lakhs)
	

	1.14
	Tariff 
	

	1.14.1
	Proposed tariff 

(i) Per Households

(ii) Per Non-households (streetlight, non-domestic / productive, common facilities, etc.)
	

	1.14.2
	Present grid tariff in neighbourhood 
(i) For domestic households (Rs/unit)
(ii) Non-households (streetlight, non-domestic / productive, common facilities, etc.) (Rs./unit)
	

	1.15
	Cost of power supply for 5 years (Rs. Lakhs)
	


2.0 
Introduction (Village profile) 

This section should provide a brief description of the village area and population details. The geographical location of the village within the State and District should be shown on map as an attachment. This section should cover the village level information obtained through Focused Group Discussions (FGD) and village survey. The FGD should generate the social and resource map of the village and these maps should be attached with the DPR.
Note: If more than one village / hamlet has been selected for the project, the Consultant preparing the DPR is required to fill Section 2.0 for each village / hamlet selected.

	2.1
	Name of the village / hamlet
	Name of the village / Hamlet
_____________________________

_____________________________

	2.2
	Village Census Code
	_____________________________



	2.3
	Village GPS coordinates
	_______ latitude _______ longitude

	2.4
	Name of Gram Panchayat
	

	2.5
	Name of Block
	

	2.6
	Whether it is Tribal Block
	Yes / No

	2.7
	Name of District
	

	2.8
	Name of the State
	

	2.9
	Approach to the village:

	2.9.1
	Distance from block HQ (Km)
	

	2.9.2
	Type of Road (tar road or katcha road)
	

	2.9.3
	If Katcha Road: Distance from tar road head (km)
	

	2.9.4
	Distance from nearest 11 kV line (Km)
	

	2.9.5
	Distance from nearest 0.4 kV line (km)
	

	2.10
	Total Area of village (ha)
	

	2.11
	No. of Hamlets in Village
	

	2.12
	Total Population (as per 2001 census):

	2.12.1
	A. No. of BPL households
	

	
	No. of SC households
	

	
	No. of ST households
	

	
	No. of other households
	

	2.12.2
	B. No. of Non-BPL households
	

	
	No. of SC households
	

	
	No. of ST households
	

	
	No. of other households
	

	2.12.3
	Total (A+B)
	

	2.13
	When is grid power supply expected 

(Mark ()
	(Within 1 year)

(1 to 2 years)

(2 to 3 years)

(3 to 5 years)

(more than 5 years)

	2.14
	Details of common facilities:

	2.14.1
	No. of Schools
	

	2.14.2
	No. of Public health centres
	

	2.14.3
	No. of Panchayat bhawans
	

	2.14.4
	No. of Community buildings
	

	2.14.5
	Others (specify)

i)

ii)

iii)
	i)

ii)

iii)

	2.15
	Is clustering with other villages / hamlets (outside the village selected) possible? 
	  Yes / No

	2.15.1
	Name of village (s) where clustering is possible
	(1)___________________________

(2)___________________________

(…)__________________________

	2.15.2
	Distance of these villages from the village / hamlet selected (in km)
	(1)___________________________

(2)___________________________

(…)__________________________

	2.15.3
	Name of hamlet (s) (outside the village selected) where clustering is possible
	(1)___________________________

(2)___________________________

(…)__________________________

	2.15.4
	Distance of these hamlets from the village / hamlet selected (in km)
	(1)___________________________

(2)___________________________

(…)__________________________

	2.16
	Socio economic details:

	2.16.1
	Type of Land ownership in which DDG is proposed (Mark ()

	Gram Panchayat

Government

Community

Private Land

Others (Specify)_____________


	2.16.2
	Main lively hood activity


	(1)___________________________

(2)___________________________

(…)__________________________

	2.16.3
	Main Employment


	(1)___________________________

(2)___________________________

(…)__________________________

	2.16.4
	Average household annual income (Rs.)
	

	2.16.5
	Average household annual expenditures (Rs.)
	

	2.17
	Any local NGOs already associated with the village / hamlet

If Yes, Name of the NGO
	Yes / No



	2.18
	Whether renewable energy systems already installed in the village (including solar home lighting systems)
	Yes / No 

Type                                  Nos

_____________                ________

_____________                ________

_____________                ________




3.0 
Village Energy Plan

This section should give the load for the village and estimate the capacity of the power plant and shall also estimate the energy required to be generated for five years from the date of commissioning. While computing the load, provision of 2 light points (2 x 11/18 W) and one socket (80W) may be considered for each household, unless the households demand differently. This section should provide the details of the energy consumption pattern for the domestic/ commercial uses within the village.  It should also provide the details (type and quantity) of the availability of renewable energy resources in the village including the seasonal variation, as also the possibility of generating such resources in future like plantation activity for biofuel/biomass projects. To assess the load and energy demand household and village survey should be conducted based on Focused Group Discussions (FGD).Data has to be captured for the entire village / hamlet (kerosene, firewood, animal waste, solar devices, batteries etc)
	3.1
	Existing energy consumption sources, quantity, and prices paid for them

	3.1.1
	Domestic (lighting) (Kerosene)

Source

Total Nos. of households

Quantity (Lts)
Average Rs./month spent by household
	

	3.1.2
	Domestic (lighting) (Solar)

Source

Total Nos. of households

Quantity

Average Rs./month spent by household
	

	3.1.5
	Domestic (entertainment / TV / Music system / Radio) (battery / solar)

Source

Total Nos. of households

Average Rs./month spent by household
	

	3.1.6
	Non-domestic/productive (Diesel)

Source

Total Nos. of households

Quantity (Lts)

Average Rs./month spent by household
	

	3.1.7
	Any other (Specify)

Source

Total Nos. of households

Quantity

Average Rs./month spent by household
	

	3. 2
	Willingness to pay for monthly energy bill 
	(Rs. / month)    %age willing to pay

30-40
40-60

60-80

80-100

>100



4.0 
Estimation of Load Demand and Energy Demand 

This section addresses the load demand, the energy demand and the daily operational hours. This also focuses on anticipated yearly percentage increase in energy demand and five years energy demand for the village.
	4.1
	Estimation of load:

	4.1.1
	A. No. of households
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.2
	B. No. of streetlights
	No. :  

Average Load                       KW 

Total load ______________ kW

	4.1.3
	C. Non-domestic /  Productive load
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.4
	D. Common facilities (Total load for Schools, Public health centres, Panchayat bhawans, Community buildings, etc.)
	Total load ______________ kW



	4.1.4.1
	Schools load
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.4.2
	Public health centres load
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.4.3
	Panchayat bhawans load
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.4.4
	Community buildings load
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.5
	E. Any other load (Specify)
	No. :  

Average Load                       KW 

Total load ______________ kW



	4.1.6
	F. Total load (A+B+C+D+E)
	Total load _______________ kW

	4.2
	Nos. of operational hours per day 

(Min. 6-8 hours/day)
	Total hrs ____________ per day

	4.3
	Anticipated Peak Load
	 _______________ kW

	4.4
	Attach hourly load curve
	Attached 

	4.5
	Suggested DDG capacity 

(1.5 x peak load as per load curve)
	 _______________ kW 

	4.6
	Estimated Annual Energy demand for 5 years:

	4.6.1
	a. 
Annual Energy Demand for 1st Year (Covered area as per load curve x 365)
	_______________ kWH

	4.6.2
	b. 
Anticipated annual %age increase in energy demand
	_______________ %age

	4.6.3
	c. 
Annual Energy Demand for 2nd Year (a + b%) #
	             ________ kWH

	4.6.4
	d. 
Annual Energy Demand for 3rd Year (c + b%) #
	             ________ kWH

	4.6.5
	e. 
Annual Energy Demand for 4th Year (d + b%) #
	             ________ kWH

	4.6.6
	f. 
Annual Energy Demand for 5th Year  (e + b%) #
	             ________ kWH

	4.6.7
	Total Energy Demand for 5 years (a+c+d+e+f)
	             ________ kWH

	4.7
	Suggested DDG capacity = annual energy demand for 5th year / (365 days x nos. of operational hours per day)
	 _______________ kW 

	4.8
	Proposed DDG capacity (among 4.5 and 4.7 which ever has higher value)
	 _______________ kW 

	4.9
	Generation voltage (Mark ()
	(a) 440 V, 3 phase
(b) 220 V, 1 phase


# Next annual Energy Demand would be current annual energy demand plus the anticipated %age increase in energy demand.
5.0
Technology Selection Decision
This section captures data for selection of appropriate technology options best suited for the village and shall consider the sustainability of such DDG projects.  The decision flow chart as mentioned in the DDG guidelines may be referred for a better understanding on the selection of technology.
Provide methodology and calculation to show how “estimated generation capacity available” has been arrived at only for selected technology (if required, please attach an annexure to the DPR)
	5.1
	Option 1: Small-hydro:

	5.1.1
	Availability of water through out the year

If “No” mention the Nos. of months per year  water availability
	Yes / No 

____________________


	5.1.2
	GPS coordinates  of upstream water head 
	____________ latitude

____________ longitude



	5.1.3
	Head

Maximum

Minimum

Average
	___________________ m

___________________ m

___________________ m



	5.1.4
	Discharge

Maximum

Minimum

Average


	___________________ lps

___________________ lps

___________________ lps



	5.1.5
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day ______________

	5.1.6
	Estimated power generation capacity available
	______________________ kW 

	5.1.7
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.2
	Option 2: Biofuels based DDG:

	5.2.1
	Quantity of biofuel seed available  within the village and nearby
	____________________ Tons

	5.2.2
	Availability of degraded lands / wastelands where energy plantations like Jatropha / Pongamia etc can be undertaken
	Yes / No 

	5.2.3
	Area available under degraded lands / wastelands where energy plantations like Jatropha / Pongamia etc can be undertaken
	____________________ ha

	5.2.4
	Whether power can be made available for 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for 6-8 hours per day _______________

	5.2.5
	Estimated power generation capacity available
	_______________________kW 

	5.2.6
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.3
	Option 3: Biomass based DDG:

	5.3.1
	Availability of biomass
	Yes / No 

	5.3.2
	Type and quantity of biomass available
	Type             Quantity (Tons / yr)

(i)

(ii)

(iii)

(…)              Total quantity

	5.3.3
	Land available for energy plantations
	_____________________ ha



	5.3.4
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day ______________

	5.3.5
	Estimated power generation capacity available
	_______________________kW 

	5.3.6
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.4
	Option 4: Biogas based DDG:

	5.4.1
	Nos. of cattle available and quantity of dung available
	Nos. of cattle               Quantity  

                                   (tons/yr)

Cows ________

Buffaloes _____

Goats ________

Sheep _______

Pigs _________

Other cattle ___

                             Total quantity

	5.4.2
	Common grazing

	Yes / No 

	5.4.3
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day ______________

	5.4.4
	Estimated power generation capacity available
	_____________________kW 

	5.4.5
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.5
	Option 5: SPV based DDG

	5.5.1
	Availability of land for setting of SPV power plant
	Yes / No 

	5.5.2
	Area of land available
	___________________ ha

	5.5.3
	Insolation level (KWH/sq meter/day)
	

	5.5.4
	Nos. of sunny days available per year
	___________________ days/yr

	5.5.5
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day ______________

	5.5.6
	Estimated power generation capacity available
	____________________kW 

	5.5.7
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.6 
	Option 6: Wind farm

	5..6.1
	Average wind speed
	________________ m/s

	5.6.2
	Nos. of days available for wind power generation per year
	___________________ days/yr



	5.6.2
	Availability of land for wind farm 
	Yes / No 

	5.6.3
	Area of land available
	________________ ha

	5.6.6
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day ______________

	5.6.7
	Estimated power generation capacity available
	___________________kW 

	5.6.8
	Whether power generation project capacity available is sufficient to meet the load

	Yes / No 

	5.7
	Option 7: Standby option

	5.7.1
	Vicinity of closest diesel station
	_______________ km

	5.8
	Option 6: Hybrid option (wind/diesel, wind/solar or any other newer technological option)

	5.8.1
	Hybrid options 

(i)

(ii)

(iii)

(..)
	Estimated power                     Nos. of days / year power available

generation capacity (kW)

(i)

(ii)

(iii)

(..)

	5.8.2
	Estimated total power generation capacity available
	___________________kW 

	5.8.3
	Whether power can be made available for at least 6-8 hrs per day throughout the year
	Yes / No

If No, how many days can it provide power for at least 6-8 hours per day_______________

	5.8.4
	Whether power generation project capacity available is sufficient to meet the load
	Yes / No 

	5.9
	Technology selected*
	


* Provide methodology and calculation to show how “estimated generation capacity available” has been arrived at only for selected technology (if required, please attach as annexure to the DPR).
6.0
Design details of the power plant and estimated costs
This section provides the system design details, including energy plantation requirements, the intended energy services as also any value addition in terms of setting up micro enterprises that may be established on account of availability of electricity. All the costs of the project have to be estimated to cost of completion. All the cost figures mentioned in this section should be “Estimated Cost of Project Completion”
	6.1
	Description of the selected technology

	______________________
______________________

	6.2
	Schematic diagram indicating the location of the power plant, the distribution network, Common facilities, non-domestic / productive, etc. on village map
	Yes / No


	6.3
	GPS coordinates for proposed power plant 
	________ Latitude ______ Longitude

	
	Item description
	Quantity (nos.)
	Unit rate (Rs)
	Cost 
(Rs)

	6.4
	Capital Cost
	
	
	

	6.4.1
	Engine / generator name & Cost
i)
ii)

iii)

a. Estimated sub-total cost

	
	
	

	6.4.2
	Auxiliary systems name & Cost
i)
ii)

ii)

b. Estimated sub-total cost

	
	
	

	6.4.3
	All associated Civil Works

i)

ii)

ii)

c. Estimated sub-total cost
	
	
	

	6.4.4
	Distribution Network with necessary control equipments Cost

Poles

Conductor / cables

Insulators

LT switch gear

MCB

Others Items:

i)

ii)

iii)

d. Estimated sub-total cost
	
	
	

	6.4.5
	Initial estimated capital cost for plantation for bio-mass gasification / bio fuel projects only

(a)  Land type for plantation (degraded land / waste land / etc)
(b) Plantation Area Available (ha)

e. Estimated sub-total cost

	
	
	

	6.4.6
	Initial capital cost for non-domestic / productive load
i)

ii)

iii)
f. Estimated sub-total cost
	
	
	

	6.4.7
	A. Estimated capital cost (a+b+c+d+e+f)
	
	
	

	6.5
	Spare parts for 5 years
	
	
	

	
	i)

ii)

iii)

iv)

B. Estimated sub-total cost 
	
	
	


	6.6
	Cost of power supply for 5 years

	
	Year
	1st
	2nd
	3rd
	4th
	5th

	6.6.1
	a)
No. of units to be supplied each year
	
	
	
	
	

	6.6.2
	b) 
Unit cost of power generation

(cost of generation calculated based on only O&M cost)
	
	
	
	
	

	6.6.3
	c) 
Total cost of power supply for each year(a x b)
	
	
	
	
	

	6.6.4
	Proposed tariff 

(i) Per Households

(ii) Per Non-households (streetlight, non-domestic / productive, common facilities, etc.)
	
	
	
	
	

	6.6.5
	Revenue collection from household 

1. Nos. of Households

2. Proposed tariff per household 

d) Total revenue collection (1 x 2)
	
	
	
	
	

	6.6.6
	Revenue collection from non-household 

3. Nos. of non-households

4. Proposed tariff per non-household (streetlights, non-domestic/productive, common facilities, etc.)

e) Total revenue collection (3 x 4)
	
	
	
	
	

	6.6.7
	f)
Revenue collection for each year (d + e)
	
	
	
	
	

	6.6.8
	g)
Cost of power supply for each year (f - c)
	
	
	
	
	

	6.6.9
	C. 
Cost of power supply for 5 years (sum of 5 years)
	


	
	Item description
	Quantity (nos.)
	Unit rate (Rs)
	Cost 
(Rs)

	6.7
	Estimated Soft cost

i)

ii)

D. Estimated sub-total cost
	
	
	

	6.8
	Estimated total project cost * 
(A+B+C+D) (in Rs.)
	


* All the cost figures mentioned should be “Estimated Cost for Project Completion”
	6.9
	Mention the source of 10% of the project cost (Mark ()
	Own Funds
Loan from REC

Any other source (specify)



7.0 
Project Management and Monitoring Plan 

This section should provide the overall management plan and implementation schedule for all the project activities.  This section should mention the project monitoring mechanism, and try to estimate probable impacts of the DDG project in the village and also develop the probable parameters and indicators that could be monitored for ex post impact analysis of the project. This section should also describe any possible constrains for successful project implementation. 

Implementation Methodology: Based on the DPR document, the Implementing Agency has to prepare the Bid Document for successful implementation. In case the Implementing Agency does not have in-house expertise themselves to prepare the Bid Document and for project implementation and management, they can avail the services of a Consultant to prepare the Bid Document and for project management and implementation. The suggested BAR / PERT Chart to be enclosed as part of the DPR.
	7.1
	Roles and responsibilities of major stakeholders:

	7.1.1
	Name of Project Implementation Agency
	

	7.1.2
	Any Other Project Implementation Agency

	i)

ii)

iii)

	7.2
	Brief about the Institutional and management structure of Project Implementation Agency
	

	7.3
	Suggest activity BAR / PERT chart for project erection and commissioning. 
	

	7.4
	Describe Tendering and procurement procedures to be followed
	

	7.5
	Provide the civil construction plan 
	

	7.6
	Duration of project (months)
	

	7.7
	Suggest monitoring mechanism during erection and commissioning of the project
	

	7.8
	Suggest the social & environmental impacts
	

	7.9
	Greenhouse gas abatement
	

	7.10
	Effect on local economy and commerce from the project
	

	7.11
	Improvements of quality of life from the project
	

	7.12
	Possible constraints for successful implementation of the project
	


8.0
Baseline information for calculating emission reductions from carbon trading schemes 

This section should provide the baseline information for calculating the baseline emissions for the project activities. This information would be used for calculating the total emission reductions in terms of tones of CO2 for market based carbon trading mechanisms like the Clean Development Mechanism. Even in the case of the voluntary market, baseline data is available to use directly.

	 8.1
	Grid in which the project activity is located

(Mark √)
	1. North, East, West, North East (NEWNE) Grid

2. Southern Grid

	8.2
	Build Margin (EFBM)

This is the emission factor (in t CO2/MWh) of power plants under construction/planned for construction that would be affected by the CDM project activity.  The standard value is available from with the Central Electricity Authority (CEA) and can be used as such for CDM purposes.
	

	8.3
	Operating Margin (EFOM)

This is the emission factor (in t CO2/MWh) of existing power plants in the selected grid whose electricity generation would be affected by the CDM project activity. The standard value is available from with the Central Electricity Authority (CEA) and can be used as such for CDM purposes.

	

	8.4
	Weighting of operating margin emissions factor, WOM (in %)
	The following default values can be used:

Small hydro – 0.5

Biofuels – 0.5

Biomass gasification – 0.5

Biogas – 0.5

Solar photovoltaic – 0.75

Wind – 0.75

	8.5
	Weighting of build margin emissions factor, WBM (in %)
	The following default values can be used:

Small hydro – 0.5

Biofuels – 0.5

Biomass gasification – 0.5

Biogas – 0.5

Solar photovoltaic – 0.25

Wind – 0.25

	8.6
	Combined Margin (in t CO2/MWh)
	= EFOM x WOM + EFBM x WBM


Please refer the following web sites for more details:
http://cdm.unfccc.int/methodologies/Tools/EB35_repan12_Tool_grid_emission.pdf 

http://www.cea.nic.in/planning/c%20and%20e/database_publishing_ver4.zip
9.0 
Check list for detailed project reports (DPRs) of DDG projects to be implemented under RGGVY 

	S. No.
	Item
	Status as per DPR
	Remark

	Administrative Clearances and Village Energy Plan

	1.
	Certificate from State Government indicating the Implementing Agency for the state (indicative format enclosed Annex 1)
	Yes / No 
	

	2.
	Selection of village / hamlet:

Whether the list of the village / hamlet has been selected in consultation with MNRE / SREDA (indicative format enclosed Annex 2)
	Yes / No 


	

	3.
	Village / hamlet map consisting of: 

a. Location of the power plant and  energy source or energy plantation

b. Location of the houses and line diagram of distribution network 

c. Roads, bridges, community centres, cultivation area, forest,  etc 
	a. Yes / No 

b.  Yes / No 

c. Yes / No 


	

	4.
	Land Ownership for Power Plant

No Objection Certificate from the owner in case the land is private land
	Gram Panchayat

Government

Community

Private Land

Others (Specify)

Yes / No 
	

	5
	Certificate by implementing agency towards surrender of service charges @ 8% / 9% (indicative format enclosed Annex 3)
	Yes / No
	


	S. No.
	Item
	Status as per DPR
	Remark

	System Details

	1. 
	The chosen technology option shall be able to supply power for 6-8 hrs per day throughout the year
	Yes / No
	

	2. 
	Details of sourcing balance 10% of the capital cost: certificate stating that implementing agency will meet the balance 10% capital cost on their own or will take loan from any financial institution or REC 
	Yes / No
	

	3. 
	A Bar / PERT chart indicating time schedule commensurate with activity. (Format enclosed Annex 4)
	Yes / No
	

	Cost Details

	4.
	Proposed Project Cost

(capital cost, revenue cost and soft cost) (Rs. Lakhs)
	____________


	Ref. DPR at page no. _________________


Annex 1

Indicative format for certifying Implementing Agency by the State Government

   <Date>

<Ref. No.>

To, 

_____________________

_____________________

_____________________

_____________________

Subject: Certificate Identifying the Implementing Agency

This is with reference to the Guidelines for Decentralized Distributed Generation (DDG) launched by the Ministry of Power, Government of India under Rajiv Gandhi Grameen Vidyutikaran Yojana (RGGVY) on January 12, 2009. 

This is to certify that <State Renewable Energy Development Agency> / <departments promoting renewable energy> / <State Utility> / <CPSU> will be the Implementing Agency for the village (s) / hamlet (s).
	Name of the Village(s)
	Name of the Hamlet(s)

	
	

	
	


Thanking you,

Yours truly,

For State Government

Annex 2
Indicative format for certifying that the village (s) / hamlet (s) have been selected in consultation











            <Date>

<Ref. No.>

To, 

_____________________

_____________________

_____________________

_____________________

Subject: Certificate Selection of Village(s) / Hamlet (s) 

This is with reference to the Guidelines for Decentralized Distributed Generation (DDG) launched by the Ministry of Power, Government of India under Rajiv Gandhi Grameen Vidyutikaran Yojana (RGGVY) on January 12, 2009. 

This is to certify that the list of village (s) / hamlet (s) to be electrified through DDG have been finalized by the <State Renewable Energy Development Agency> / <departments promoting renewable energy > in consultation with the State utilities and Ministry of New and Renewable Energy. Please enclose documentary evidence.

	Name of the Village(s)
	Name of the Hamlet(s)

	
	

	
	


Thanking you,

Yours truly,

Authorized Representative

<State Renewable Energy Development Agency>

Annex 3
Indicative format for certificate towards 
surrendering service charges @ 8% / 9 %











            <Date>

<Ref. No.>

To, 

_____________________

_____________________

_____________________

_____________________

Subject: Certificate for Surrendering Service Charges 
This is with reference to the Guidelines for Decentralized Distributed Generation (DDG) launched by the Ministry of Power, Government of India under Rajiv Gandhi Grameen Vidyutikaran Yojana (RGGVY) on January 12, 2009. 

We hereby agree to surrender the service charges @ 8% / 9% of the project cost as charges for implementing the scheme towards financing the scheme for 5 years. Refer clause nos. 7 (i) and 16 (iv).

Thanking you,

Yours truly,

Authorized Representative

<State Implementing Agencies or Central Public Sector Undertaking>

Annex 4
10.0
BAR / PERT Chart for Project Erection and Commissioning

Fill up the proposed activity duration, start date, finish date and complete the bar chart.

	Activity Nos.
	Activities
	Maximum Activity Duration (Months)^
	Proposed Activity Duration (Months)
	Start Date 
	Finish Date
	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11
	12
	13
	14
	15
	16
	17
	18

	1
	Preparation of DPR
	3
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	2
	Approval of DPR by ISG / MC
	2
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	3
	Bid document preparation & approval
	1
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	4
	Bidding period (NIT to LOA)
	3
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	5
	Supply of equipments
	6
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	6
	Erection, Installation and Commissioning
	3
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	 
	Total Duration (Months)
	18
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 


^ Maximum activity duration is 18 months, if possible, try to reduce the duration.

